## Slide 1
Modbus
Communication Protocol
Dr. Binil Starly
James T. Ryan Professor
Edward P. Fitts Department of Industrial & Systems Engineering

## Slide 2
7
Factory Scenario

## Slide 3
7
Modbus Protocol Types
Modbus TCP
Modbus RTU
Modbus ASCII
Modbus PLUS
Client - Server Architecture

## Slide 4
7
Request - Response
REQUEST SEND
RESPONSE SENT
1
2

## Slide 5
7
Communication over Physical Media
RS232
RS485
RS422
Ethernet Cable

## Slide 6
7
Modbus in Plain Form (RS232 & RS485)
REQUEST SEND
RESPONSE SENT
1
2
Plain ASCII format

## Slide 7
7
Modbus in Packet Form (Ethernet TCP-IP)
REQUEST SEND
RESPONSE SENT
1
2
TCP/IP Packets

## Slide 8
7
Modbus Protocol
Responder Address | Function Code | Data Request | Error Code
REQUESTOR

## Slide 9
7
Modbus Protocol
Request Status | Data Payload | Error Code
RESPONDER

## Slide 10
7
Modbus Protocol
Memory Register Structure
Discrete Inputs
Coils Outputs
Input Registers (Input Data)
Holding Registers (Output Data)